## Slide 1: Engineer and verification issues
Engineers should provide certification
The total design of the panel erection system should be overseen by engineers
design of the panels
temporary bracing systems
securing of panels