## Slide 1: Fire protection and equipment
Ensure the workplace is provided with fire protection and firefighting equipment :
quantities
conditions under which they are used
Handled, generated or stored, having regard to
fire load of the hazardous chemicals
fire load from other sources
compatibility of the hazardous chemicals with other substances
Notes: Ensure the workplace is provided with fire protection and firefighting equipment that is designed and built for the types of hazardous chemicals at the workplace:
in the quantities in which they are used, handled, generated or stored, and
the conditions under which they are used, handled, generated or stored, having regard to:
the fire load of the hazardous chemicals
the fire load from other sources
the compatibility of the hazardous chemicals with other substances and mixtures at the workplace