## Slide 1: Materials
Supply of tendons: The manufacturer / processor of the tendons shall hold a valid certificate of approval issued by the Australian Certification Authority for Reinforcing Steel (ACRS).
Welding is not be permitted on or near tendons nor shall any heat be applied to tendons

## Slide 2: Traceability
Wire, strand, bars and anchorages shall be labelled in accordance with the requirements of AS 4672 or AS 1314
Individual lengths of wire, strand or bar shall be traceable from the point of manufacture of coils or lots to their final location by a unique identification number