## Slide 1: Identification of reactions
Some hazardous chemicals are reactive in nature and can create new hazards if it interacts with other substances or materials

## Slide 2: Fire and explosion prevention
A PCBU must ensure an ignition source is not introduced into a hazardous area. A hazardous area should be identified and classified.
Hazardous area is an area in which an explosive gas/combustible dust is present in the atmosphere in a quantity that requires special precautions to be taken.
Notes: A PCBU must ensure an ignition source is not introduced into a hazardous area. A hazardous area should be identified and classified by a competent person and a plan detailing the extent of the areas be kept as a reference and be used to support the implementation of appropriate fire and explosion prevention measures.
Hazardous area is defined in the Regulation as an area in which an explosive gas/combustible dust is present in the atmosphere in a quantity that requires special precautions to be taken for the construction, installation and use of plant.

## Slide 3: Ignition sources - control measures
identifying, classifying and managing hazardous areas
controlling emissions of flammable vapours, gases and mists
eliminating ignition sources from hazardous areas
installing systems to detect leaks of flammable gases or vapours using intrinsically safe or flameproof equipment
substituting flammable materials for ones that are less flammable
ensuring incompatible materials are separated or segregated
reducing quantities of flammable and combustible materials
ensuring equipment used in handling flammable hazardous chemicals is maintained
adopting good housekeeping practices

## Slide 4: Keeping hazardous chemicals stable
Some hazardous chemicals are inherently unstable or highly reactive.
Always check the product’s SDS.
Notes: Some hazardous chemicals are inherently unstable or highly reactive, or they can become unstable under certain conditions during use, often in a deliberate process.
Always check the product’s SDS for any conditions that may affect its stability and conditions to avoid.

## Slide 5: Identification of contents
The hazardous chemical contents of storage and handling systems must be identified and specific requirements apply:
packages require correct labelling
bulk containers require tank placards
Notes: The hazardous chemical contents of storage and handling systems must be identified and specific requirements apply.
For example:
packages require correct labelling
bulk containers require tank placards displaying the proper shipping name, UN Number, Hazchem code and dangerous goods class label as specified in the ADG Code pipework is identified by a label, sign or another way on or near the pipework